## ID Table
Identification Table
Associated Review Title: | What is the accuracy of diagnostic tests for the detection of SARS-CoV-2?
Review ID: | EPM072101
Date/Time Published: | July 23, 2020 2:30 P.M.
Version: | 1
Revision History: | None
Data Sheet Prepared By: | Hazel Williams-Roberts, Research Scientist, Saskatchewan Health Authority Michelle Dalidowicz, Clinical Librarian, Saskatchewan Health Authority Brianna Howell-Spooner, Clinical Librarian, Saskatchewan Health Authority
Rapid Review Prepared By: | Hazel Williams-Roberts, Research Scientist, Saskatchewan Health Authority Michelle Dalidowicz, Clinical Librarian, Saskatchewan Health Authority Brianna Howell-Spooner, Clinical Librarian, Saskatchewan Health Authority
Contact: | Dr. Cheryl Waldner, clw708@mail.usask.ca
Cite As: | Williams-Roberts, H; Waldner, C; Dalidowicz, M; Howell-Spooner, B. What is the accuracy of diagnostic tests for the detection of SARS-CoV-2? 2020 Jul 23; Document no.: EPM072101 RR Table. In: COVID-19 Rapid Evidence Reviews [Internet]. SK: SK COVID Evidence Support Team, c2020. (CEST table)
For search strategy, see full Rapid Review document

## Studies re test performance
Reference | Link to article | Name of specific test | Method of test | Population characteristics | Type of sample for test | Time to test result | Sensitivity |  |  | Specificity |  |  | Other test characteristics | Peer reviewed | References
[7 empty] | Estimate, 95% CI | Numerator | Denominator | Estimate, 95% CI | Numerator | Denominator
[7 empty] | IgM (82.28, NR) | 65 | 79 | 81.25, NR | 65 | 80
Scohy et al., 2020 | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7240272/ | COVID-19 Ag Respi Strip, Brussells | Antigen test that used monoclonal antibodies to detect highly conserved SARS-CoV and SARS-CoV-2 nucleoprotein antigen | 148 nasopharyngeal swabs from 148 patients who were seen in the hospital. The median age was 57.5 years (0-94); 64 men and 84 women | Nasopharngeal swab |  | (21.7,39.9) | 32 | 106 | 100 | 42 | 42 | Accuracy 50% (95% CI: 41.7–58.3)The rapid antigen detection test is able to detect SARS-CoV-2 with high sensitivity in nasopharyngeal samples with high viral load equivalent at least to 1.7 × 105 copies/mL (Ct < 25), but the sensitivity declines substantially when the viral load decreases with Ct values over 30, equivalent to 9.4 × 103 copies/mL, which is often the case in patients suffering of COVID-19 | YES | Scohy, A., Anantharajah, A., Bodéus, M., Kabamba-Mukadi, B., Verroken, A., & Rodriguez-Villalobos, H. (2020). Low performance of rapid antigen detection test as frontline testing for COVID-19 diagnosis. Journal of clinical virology : the official publication of the Pan American Society for Clinical Virology, 129, 104455. Advance online publication. https://doi.org/10.1016/j.jcv.2020.104455
Blairon et al., 2020 | https://www.sciencedirect.com/science/article/pii/S1386653220302146 | COVID-19 Ag Respi Strip | Immunochromatographic diagnostic tool recently available for antigenic diagnosis of SARS-CoV-2 | 774 patient samples evaluated from individuals seen at the Belgium hospital and submitted to laboratory for diagnosis | Naso-pharyngeal smears from UTM-RT medium. | Not stated | 37% | 60 | 159 | 100% | 615 | 615 | The median positive percentage agreement was 23.9 % (95 % CI: 14.2 %–38.2 %). The Cohen’s kappa score was 0.35. | YES | Blairon L, Wilmet A, Beukinga I, et al. Implementation of rapid SARS-CoV-2 antigenic testing in a laboratory without access to molecular methods: Experiences of a general hospital. J Clin Virol. 2020;129:104472. DOI: 10.1016/j.jcv.2020.104472
Dohla et al., 2020 | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7165286/ | Not stated | IgG/IgM–based test for SARS-CoV-2 Antiibody test | 39 randomly selected indivdiudals at a COVID 19 screening centre were tested with rapid test and qPCR. Ten previously diagnosed individuas were also tested; Median age 46 years (IQR 24-72); 28 (49%) were female | Blood (2 drops) |  | 36.4% [ 17.2; 59.4] | 8 | 22 | 88.9% [95% CI: 70.8; 97.7] | 24 | 27 | Results available in 20 minutes; PPV=72.7(95%CI 39,94); NPV=63.1[95% CI 46,78.2] | YES | Döhla, M., Boesecke, C., Schulte, B., Diegmann, C., Sib, E., Richter, E., Eschbach-Bludau, M., Aldabbagh, S., Marx, B., Eis-Hübinger, A. M., Schmithausen, R. M., & Streeck, H. (2020). Rapid point-of-care testing for SARS-CoV-2 in a community screening setting shows low sensitivity. Public health, 182, 170–172. https://doi.org/10.1016/j.puhe.2020.04.009
Ali et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.06.02.20117739v1.full.pdf | iSCAN (in vitro Specific CRISPR-basedAssay for Nucleic acids detection) | RT-LAMP coupled with CRISPR-Cas12 for the rapid, specific, accurate, sensitive detection of SARS-CoV-2 | 24 clinical samples obtained including 21 positive and 3 negative | Nasopharyngeal swabs | 40 minutes | 85.7% | 18 | 21 | 100% | 3 | 3 | Note that the one pot iSCAN with fluorescent read outs perofrmed better than the lateral flow readouts. E gene targets were also inferior to the N gene targets. | NO | Ali Z, Aman R, Mahas A, et al. iSCAN: An RT-LAMP-coupled CRISPR-Cas12 module for rapid, sensitive detection of SARS-CoV-2. medRxiv. 2020:2020.06.02.20117739. DOI: 10.1101/2020.06.02.20117739
Anahtar et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.05.12.20095638v1.full.pdf | WarmStart® Colorimetric RT-LAMP 2X Master Mix (New England Biolabs, M1800) | Colorimetric reverse-transcription loop-mediated isothermal amplification (RT-LAMP) to detect SARS-CoV-2 | Inpatients from Mass General Hospital with known COVID-19 status as well as ER patients who needed COVID testing and were collected in 24 hour period. (32 positive samples and 30 negative samples) | Nasopharyngeal samples | 40 minutes from sample collection to result | 87.5 | 28 | 32 | 100% | 30 | 30 | It is critical to use the positive and negative controls as interpretative aids to avoid misinterpreting an orange intermediate color change as positive | NO | Anahtar MN, McGrath GEG, Rabe BA, et al. Clinical assessment and validation of a rapid and sensitive SARS-CoV-2 test using reverse-transcription loop-mediated isothermal amplification. medRxiv. 2020:2020.05.12.20095638. DOI: 10.1101/2020.05.12.20095638
Arizti-Santz et al., 2020 | https://www.biorxiv.org/content/10.1101/2020.05.28.119131v1.full.pdf | SHINE (SHERLOCK and HUDSON Integration to Navigate Epidemics) | Extraction-free, rapid, and sensitive detection of SARS CoV-2 RNA | Clinical samples obtained from patients seen at Mass General Hospital | Nasopharygeal swabs | 50 minutes (10 mins HUDSOn and 40 mins SHERLOCK) | 90% | 27 | 30 | 100% | 20 | 20 |  | NO | Arizti-Sanz J, Freije CA, Stanton AC, et al. Integrated sample inactivation, amplification, and Cas13-based detection of SARS-CoV-2. bioRxiv. 2020. DOI: 10.1101/2020.05.28.119131
Assennato et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.05.24.20100990v3.full.pdf | SAMBA II SARS-CoV-2 Test | Test for SARS CoV-2 Nucleic acid | 172 residual blinded combined nose and throat swab samples from CMPHL Cambridge laboratory. These residual samples were from symptomatic individuals with suspected Covid-19 from around the East of England region sent for routine laboratory diagnosis | Nose and throat swabs | 1.5 hours | 98.9% (95% CI 94.03- 99.97%) | 90 | 91 | 100%(95.5-100) | 81 | 81 | PPV of 100% and NPV of 98.78% 255 (92.02-99.82%) | NO | Assennato SM, Ritchie AV, Nadala C, et al. Performance evaluation of the point-of-care SAMBA II SARS-CoV-2 Test for detection of SARS-CoV-2. medRxiv. 2020:2020.05.24.20100990. DOI: 10.1101/2020.05.24.20100990
Attwood et al., 2020 | https://www.sciencedirect.com/science/article/pii/S1386653220301906 | AusDiagnostics SARS-CoV-2 multiplex tandem PCR assay (Mascot, Australia) | Polymerase Chain Reaction (PCR) Nucleic acid amplification test |  | Combined oropharyngeal and nasopharyngeal swabs | Not stated | 98.4% | 125 | 127 |  |  |  | of 7839 samples only 2 were discordant when compared to reference standard | YES | Attwood LO, Francis MJ, Hamblin J, et al. Clinical evaluation of AusDiagnostics SARS-CoV-2 multiplex tandem PCR assay. J Clin Virol. 2020;128:104448. DOI: 10.1016/j.jcv.2020.104448
Baek et al., 2020 | https://www.tandfonline.com/doi/full/10.1080/22221751.2020.1756698 | Not stated | Reverse transcription loop-mediated isothermal amplification (RT-LAMP) assay | Fourteen nasal swabs collected from COVID-19 patients in the National Medical Center, Republic of Korea were processed for viral RNA extraction; 140 negative specimens from perosns with other respiratory viruses. | Nasal swabs | 30 minutes | 100% | 14 | 14 | 98.7% | 138 | 140 |  | YES | Baek YH, Um J, Antigua KJC, et al. Development of a reverse transcription-loop-mediated isothermal amplification as a rapid early-detection method for novel SARS-CoV-2. Emerg Microbes Infect. 2020;9(1):998-1007. DOI: 10.1080/22221751.2020.1756698
Ben-Assa et al., 2020 | https://journals.sagepub.com/doi/full/10.1177/1535370220941819?url_ver=Z39.88-2003&rfr_id=ori:rid:crossref.org&rfr_dat=cr_pub%20%200pubmed | Not stated | Colorimetric RT LAMP | Two cohorts: a cohort of 99 patients that were previously tested in hospital labs by the standard RT-qPCR method. The tested pool included 27 positive samples containing a wide range of viral load and 72 negative samples. Second cohort of 83 patients suspected of being infected with SARS-CoV-2. | Throat and nasal swabs as well as saliva samples self collected in sterile cups | 60 minutes | ?93% |  |  | NR | ?102 | ?103 |  | YES | Ben-Assa N, Naddaf R, Gefen T, et al. Direct on-the-spot detection of SARS-CoV-2 in patients [published online ahead of print, 2020 Jul 16]. Exp Biol Med (Maywood). 2020;1535370220941819. doi:10.1177/1535370220941819
Boger et al., 2020 | https://www.ajicjournal.org/action/showPdf?pii=S0196-6553%2820%2930693-3 | Computer Tomography | Chest CT | Six studies | NA | NR | 91.9% (89.8, 93.7%) | NR | NR | 25.1% [21.0–29.5%] | NR | NR |  | YES (pre proof) | Boger B, Fachi MM, Vilhena RO, et al. Systematic review with meta-analysis of the accuracy of diagnostic tests for COVID-19. Am J Infect Control. 2020. DOI: 10.1016/j.ajic.2020.07.011
|  | IgG/IGM antibody tests | Serological Immunological antibody tests | 5 studies | Blood | NR | 84.5% [82.2%-86.6%]; 91.6% [86.0%-95.4% | NR | NR | NR | NR | NR
|  | RT-PCR | Real time PCR | 4 studies (based on sputum) | NPS, sputum, throat swab | NR | (97.2% [90.3–99.7%) | NR | NR | NR | NR | NR | Sputum (97.2%, 95% CI 90.3–99.7%), saliva (62.3%, 95% CI 54.5–69.6%), nasopharyngeal aspirate/swab and throat swab (73.3%, 95% CI 68.1–78.0%) were more sensitive for detecting the virus
Bordi et al., 2020 | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7198196/ | Simplexa Covid Direct Assay (Gerenzano, Italy) | Real-time RT PCT | 278 consecutive samples ( nasal and nasopharyngeal swabs) that were submitted for analysis during the period Feb 20 to Mar 24, 2020. Twenty negative nasopharyngeal swabs that were positive for other coronaviruses were used for specificity testing | Nasal, nasopharyngeal swabs | Not stated | 100% | 99 | 99 | 100% | 171 | 171 |  | YES | Bordi L, Piralla A, Lalle E, et al. Rapid and sensitive detection of SARS-CoV-2 RNA using the Simplexa COVID-19 direct assay. J Clin Virol. 2020;128:104416. DOI: 10.1016/j.jcv.2020.104416
Chen et al., 2020 | https://jcm.asm.org/content/early/2020/05/29/JCM.00936-20 | Luminex NxTAG CoV Extended Panel ((Luminex Molecular Diagnostics, Toronto, Canada) | Molecular diagnostic test | 214 nucleic acid extracts of suspected COVID -19 patients admitted to Queen Mary Hosptial (Hong Kong) through Accident and Emergency Unit March and April 2020 who developed COVID-19 clinical symptoms or had COVID-19 patient contact history or travelling history in Hong Kong [ median age of 51 years (interquartile 84 range [IQR]: 31-69) | Nasopharygeal swabs | 4 hours (batches of 96 specimens) | 97.8%(95% CI: 92.2%,99.7%) | 89 | 91 | 100% (95% CI:97.1%,100%) | 123 | 123 | The positive predictive value was 100% (95% CI: 95.94% -100%) and the negative predictive 183 value was 98.40% (95% CI: 94.34% -99.81% .The overall sensitivity of individual gene target was 91.21% (89/91) for ORF1ab region, 85.71% (78/91) for N gene and 96.70% (88/91) for E gene among the 91 COVID-19 positive samples . | YES | Chen JH, Yip CC, Chan JF, et al. Clinical performance of the Luminex NxTAG CoV Extended Panel for SARS-CoV-2 detection in nasopharyngeal specimens of COVID-19 patients in Hong Kong. J Clin Microbiol. 2020. DOI: 10.1128/JCM.00936-20
Degli_Angeli et al., 2020 | https://www.sciencedirect.com/science/article/pii/S138665322030216X | Abbott Molecular (Des Plaines, IL) | Real-time RT PCT (automated) | 30 positive and 30 negative SARS-CoV-2 clinical samples previously tested using the UW Virology SARS-CoV-2 LDT | Nasopharyngeal swabs | can process up to 96 samples simultaneously, with 470 test results reported in approximately 24 h. | 93% | NR | NR | 100% | 24 | 24 | An overall agreement of 92.7%, and a Kappa value of 0.86 | YES | Farfour E, Lesprit P, Visseaux B, et al. The Allplex 2019-nCoV (Seegene) assay: which performances are for SARS-CoV-2 infection diagnosis? Eur J Clin Microbiol Infect Dis. 2020. DOI: 10.1007/s10096-020-03930-8
Farfour et al., 2020 | https://www.sciencedirect.com/science/article/pii/S138665322030216X | Allplex 2019-nCoV (Seegene, Seoul, South Korea) assay | Commercial assay that uses real time PCR | Twenty-five samples were collected prospectively from adults suspected of COVID-19 | Nasopharyngeal swabs | NR | ?100% | 25 | 25 | 100% | 16 | 16
Gorzalski et al., 2020 | https://www.sciencedirect.com/science/article/pii/S1386653220302432 | The Hologic Aptima SARS-CoV-2 Assay | utilizes TMA (transcription mediation amplification) as a target amplification mechanism | 116 speciments were evaluated collected throughout the state of Nevada (April 1 – May 8, 2020) and included symptomatic individuals (self-reported presence of fever, cough or shortness of breath) or individuals associated with an outbreak at a facility, regardless of symptomology | Nasopharyngeal swabs | NR | 98% | 50 | 51 | 100% | 61 | 61 |  | YES | Gorzalski AJ, Tian H, Laverdure C, et al. High-Throughput Transcription-mediated amplification on the Hologic Panther is a highly sensitive method of detection for SARS-CoV-2. J Clin Virol. 2020;129:104501. DOI: 10.1016/j.jcv.2020.104501
Helgouach et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.05.30.20117291v1 | Easy CoV | LAMP based rapid detection of SARS‐CoV‐2 | Salivary clinical samples were recovered from patients with a previous known SARS‐COV‐2 infection admitted to University Montpellier Hospital in the unit specialized in COVID and from volunteer caregivers working at the same hospital. Healthcare workers or adult outpatients were recruited when attending the center for SARS‐CoV‐2 screening. or diagnosis, based on symptomatic case‐finding or close exposure with an index case (n=123). The average age was 43 +/- 1.4 years. 42 (34.1%) were male. | Saliva | 30 minutes | 72.7% (95% CI 39, 94.0%) | 8 | 11 | 95.7%(95% CI: 89.2, 98.8%) | 88 | 92 | EasyCOV performances was 72.7% sensitivity on actively infected patients. But was still able in some case to detect virus in cured patients on late control visit | NO | Helgouach N, Champigneux P, Santos-Schneider F, et al. EasyCOV : LAMP based rapid detection of SARS-CoV-2 in saliva. medRxiv. 2020:2020.05.30.20117291. DOI: 10.1101/2020.05.30.20117291
Hu et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.05.20.20108530v2.full.pdf | RT LAMP (not otherwise pecified) | RT LAMP | Samples were collected from a cohort of 129 cases (329 nasopharyngeal swabs) and an independent cohort of 76 patients (152 nasopharyngeal swabs and sputum samples). Median age of 46.5 years (IQR, 31-60 years), 69.23% (36/52) were male | Nasopharyngeal swabs and sputum | Less than 1 hour | 88.5% (95% CI:74.05,95.4%) | 31 | 35 | 98.9%(95% CI:97,99.6) | 40 | 40 | Comparing the results between the RT-LAMP and RT-qPCR assays, RT-LAMP provided a better sensitivity (88.89% vs 81.48%) than RT-qPCR for SARS-CoV-2 | NO | Hu X, Deng Q, Li J, et al. Development and clinical application of a rapid and sensitive loop-mediated isothermal amplification test for SARS-CoV-2 infection. medRxiv. 2020:2020.05.20.20108530. DOI: 10.1101/2020.05.20.20108530
Ikeda et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.06.06.20124123v1 | QuantiTect®Probe RT-PCR Kit (QIAGEN) | LDT RT-qPCR | 103 patients with laboratory-confirmed COVID-19 (15 asymptomatic and 88 symptomatic) were collected on the day of hospital admission. age ranged from 18 to 87 years (median, 46 years; IQR 38–63 years), and 66 (64.1%) patients were male. The time from symptom onset to sample 213 collection was 1–14 d (median, 7 d; IQR, 6–10 d). Of the 88 symptomatic patients, 72 (81.8%) and 16 (18.2%) were classified as mild and severe COVID-19, respectively. | Saliva (self-collected) | NR | 81.6%(95% CI:72.2,88.5) | 84 | 103 | NR | NR | NR | Detection of viral RNA in saliva was significantly higher in samples collected in the early phase of symptom onset (within 9 d) compared to that in samples collected in the late phase of symptom onset (over 10 d), and in male patients versus female patients | NO | Ikeda M, Imai K, Tabata S, et al. Clinical evaluation of self-collected saliva by RT-qPCR, direct RT-qPCR, RT-LAMP, and a rapid antigen test to diagnose COVID-19. medRxiv. 2020:2020.06.06.20124123. DOI: 10.1101/2020.06.06.20124123
|  | SARS-CoV-2 Direct Detection RT-qPCR Kit (Takara Bio Inc. Kusatsu, Japan) | Direct RT-qPCR methods without RNA extraction |  |  | NR | 76.7% (95% CI:67.3-84.5) | 79 | 103 | NR | NR | NR
|  | AmpdirectTM 132 2019 Novel Coronavirus Detection Kit (Shimadzu Corporation, Kyoto, Japan |  |  |  | NR | 78.6% [95% CI: 69.5-86.1] | 81 | 103 | NR | NR | NR
|  | SARS-CoV-2 Detection Kit (Toyobo, Osaka, Japan) |  |  |  | NR | 50.5% [95% CI:40.5-60.5] | 52 | 103 | NR | NR | NR
|  | cobas SARS-CoV-2 test (Roche, Basel, Switzerland) | Automated RT-qPCR |  |  | NR | 80.6%(95% CI 71.6, 87.7) | 83 | 103 | NR | NR | NR
|  | ESPLINE® SARS-CoV-2; Fuji Rebio Inc., Tokyo, Japan) | Rapid Antigen Test (Immunochromatography with an enzyme immunoassay to detect the viral nucleocapsid protein) |  |  | NR | 11.7% [95% CI:6.2-19.5) | 12 | 103 | NR | NR | NR
|  | Loopamp® 2019-SARS-CoV-2 Detection Reagent Kit (Eiken Chemical, Tokyo, Japan) | RT LAMP |  |  | 19.1 minutes (SD 4) | 70.9% [95% CI:61.1-79.4] | 73 | 103 | NR | NR | NR
Jiang et al., 2020 | https://www.frontiersin.org/articles/10.3389/fcimb.2020.00331/full | LAMP Designer (PREMIER Biosoft International, San Francisco, CA | Rapid RT-LAMP | 47 samples from COVID positive patients seen at two centres (The Second Affiliated Hospital and Yuying Children's Hospital of Wenzhou Medical University, Wenzhou, China , and the Wuxi Infectious Diseases Hospital, Wuxi, China ) and 213 negative | Sputum, nasopharyngeal swabs and tears | 40 minutes | 91.4% | 43 | 47 | 99.5% | 212 | 213 | PPV=97.7, NPV=98.1 | YES | Jiang M, Pan W, Arasthfer A, et al. Development and Validation of a Rapid, Single-Step Reverse Transcriptase Loop-Mediated Isothermal Amplification (RT-LAMP) System Potentially to Be Used for Reliable and High-Throughput Screening of COVID-19. Front Cell Infect Microbiol. 2020;10:331. DOI: 10.3389/fcimb.2020.00331
Loeffelhol et al., 2020 | https://jcm.asm.org/content/jcm/early/2020/04/30/JCM.00926-20.full.pdf | Xpert(R) Xpress ((Cepheid, Sunnyvale, California, U.S.A) | Xpert test platform integrates specimen processing, nucleic acid extraction, reverse transcriptase polymerase chain reaction amplification of SARS-CoV-2 RNA, and amplicon detection in a single cartridge | 483 remnant upper and lower respiratory specimens previously analyzed by standard of care (SOC) NAATs | Specimen types differed among some sites, and included swabs (NPS, OPS, combined 162 NPS/OPS in the same transport vial | 45 minutes | (99.5%, 95% CI: 97.5–99.9) | 219 | 220 | (95.8%, 95% 221 CI: 92.6–97.6) | 250 | 261 |  | YES | Loeffelholz MJ, Alland D, Butler-Wu SM, et al. Multicenter Evaluation of the Cepheid Xpert Xpress SARS-CoV-2 Test. J Clin Microbiol. 2020. DOI: 10.1128/JCM.00926-20
Mak et al., 2020 | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7278630/ | BIOCREDIT COVID-19 Ag test | Rapid Antigen Detection Kit | 160 confirmed COVID-19 samples collected frm 152 patients: throat saliva (N = 18), nasopharyngeal swab and throat swab (NPS & TS, N = 70), nasopharyngeal aspirate and throat swab (NPA & TS, N = 81), sputum (N = 45) | Respiratory samples from individuals confirmed with SARS-CoV-2 infection by RT-PCR targeting the SARS-CoV-2 virus–specific RdRp gene were retrieved for this evaluation. | NR | 34.3% (NPA & TS) | 12 | NR | NR | NR | NR | RAD test was capable of detecting SARS-CoV-2 virus in NPA & TS, NPS & TS, sputum and throat saliva with different sensitivities, this method was less sensitive than RT-PCR. Consequently, the negative results from this RAD method cannot exclude SARS-CoV-2 virus infection confidently and thus results should be verified by further RT-PCR testing. the low prevalence of high viral load samples further limits the use of RAD test in clinical setting | YES | Mak GC, Cheng PK, Lau SS, et al. Evaluation of rapid antigen test for detection of SARS-CoV-2 virus. J Clin Virol. 2020;129:104500. DOI: 10.1016/j.jcv.2020.104500
[7 empty] | 45.7% (NPS & TS) | 16 | NR | NR | NR | NR
[7 empty] | 11.1% (Sputum) | 5 | NR | NR | NR | NR
[7 empty] | 40% (Throat saliva) | 18 | NR | NR | NR | NR
Mohon et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.04.29.20075747v2 |  | SARS CoV LAMP | 42 RT-PCR-positive clinical (n=32), contrived (n=10), and 78 negative NP swab samples were 136 tested in the single-target |  |  | 97.62% (95% CI 87.43 2 - 99.94) | 41 | 42 | (98.72% (95% CI 93.06 - 99.97) | 77 | 78 |  | NO | Mohon AN, Hundt J, van Marle G, et al. Development and validation of direct RT-LAMP for SARS-CoV-2. medRxiv. 2020:2020.04.29.20075747. DOI: 10.1101/2020.04.29.20075747
Omi et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.06.16.20131243v1.full.pdf | ESPLINE SARS-CoV-2 (Fujirebio Inc) | Rapid Antigen Detection Kit | 62 positive samples from initial tested individuals; 100 randomly selected qRT-PCR negative samples | Nasopharyngeal swabs | 35 minutes | 80.6% | 50 | 62 | 100% | 100 | 100 | The overall agreement rate was 92.6% (150/162), with positive predictive value (PPV) of 100% (50/50); (NPV) of 89.3% (100/112). Positivity rate was highest in ct range <25. | NO | Omi K, Takeda Y, Mori M. SARS-CoV-2 qRT-PCR Ct value distribution in Japan and possible utility of rapid antigen testing kit. medRxiv. 2020:2020.06.16.20131243. DOI: 10.1101/2020.06.16.20131243
Pellanda et al., 2020 | https://www.medrxiv.org/content/10.1101/2020.05.06.20093476v1.full.pdf | Wondfo SARS-CoV-2 Antibody Test, China | Immunochromatographic Lateral Flow Assay for detection of IgM and IgG | Samples from healthy individuals (n = 100) were randomly selected from a pre-COVID-19 serum collection from 3,700 individuals belonging to the 1982 Birth Cohort Study | Finger stick blood samples | 15 minutes | 77.1 (66.6 - 85.6) | 64 | 83 | 98.0 (95% CI: 92.9 - 99.8)% | ? | ? | PPV=44.0 (16.5 - 75.7); NPV= 99.5 (99.3 - 99.7) | NO | Pellanda LC, Wendland EM, McBride AJA, et al. Sensitivity and specificity of a rapid test for assessment of exposure to SARS-CoV-2 in a community-based setting in Brazil. medRxiv. 2020:2020.05.06.20093476. DOI: 10.1101/2020.05.06.20093476
Porte et al., 2020 | https://www.sciencedirect.com/science/article/pii/S1201971220304057?via%3Dihub | Bioeasy Biotechnology Co., (Shenzhen, China) | Fluorescence immunochromatographic SARS-CoV-2 antigen test | 127 Positive and negative samples were selected by convenience among the 1,453 respiratory specimens processed for SARS-CoV-2 in the clinical lab during the study period (March 16-21, 2020). 53.5% were male and the median age was 38 years. Most samples were taken during the initial phase of the disease with a median duration of symptoms of 2 days (IQR 1–4) . | Nasopharyngeal (NP) and an oropharyngeal swab (OP), which were placed together in a 3 mL tube of universal transport medium rr | 15 minutes | 93.9% (CI95% 86.5–97.4) | 77 | 82 | 100% (CI95% 92.1–100 | 45 | 45 | The diagnostic accuracy was 96.1% with a Kappa coefficient of 0.9. Sensitivity was significantly reduced in the subgroup of samples with Ct values > 25.1, which represented the 4th quartile of Ct values in our population, indicating lower viral loads | YES | Porte L, Legarraga P, Vollrath V, et al. Evaluation of novel antigen-based rapid detection test for the diagnosis of SARS-CoV-2 in respiratory samples. Int J Infect Dis. 2020. DOI: 10.1016/j.ijid.2020.05.098
Suo et al., 2020 | https://www.tandfonline.com/doi/pdf/10.1080/22221751.2020.1772678?needAccess=true | QX200 Droplet Digital PCR System | droplet digital PCR (ddPCR) | Throat swab samples of 63 suspected outpatients and 14 supposed convalescents were collected by the medical staffs from COVID-19 designated Renmin and Zhongnan Hospital of Wuhan University. | Throat swabs | NR | 94% (95% CI: 83-99%) | 47 | 47 | 100%(48-100) | ?4 | ?9 | NPV of ddPCR (63%, 36–83) is obviously higher than that of RT-PCR (16%, 13–19), which indicates that part of true COVID-19 outpatients (26 positive reports by ddPCR in this study) could not be diagnosed in time by RT–PCR, potentially leading to the higher risk of severe illness and viral spreading | NO | Suo T, Liu X, Feng J, et al. ddPCR: a more accurate tool for SARS-CoV-2 detection in low viral load specimens. Emerg Microbes Infect. 2020;9(1):1259-68. DOI: 10.1080/22221751.2020.1772678
Sharito et al., 2020 | https://www.jstage.jst.go.jp/article/yoken/advpub/0/advpub_JJID.2020.324/_pdf/-char/en | PC1100 | Ultra rapid mobile real-time RT-PCR assay for SARS CoV-2 | 27 negative and 14 positive samples were evaluated with extraction done using the QIA amp viral RNA kit/ 18 negative samples and 13 positive samples were assessed with RNA extraction using the M1 Sample Prep Cartridge Kit | Pharyngeal and nasal swabs and sputum samples | Less than 20 minutes | QIA RNA extraction (100%) | 14 | 14 | 100% | 27 | 27 | Note that with M1 Sample Kit RNA extraction sensitivity was reduced (5/13 posiitives) | YES | Shirato K, Nao N, Matsuyama S, et al. An ultra-rapid real-time RT-PCR method using the PCR1100 to detect Severe Acute Respiratory Syndrome Coronavirus-2. Jpn J Infect Dis. 2020. DOI: 10.7883/yoken.JJID.2020.324
van kasteren et al., 2020 | https://www.sciencedirect.com/science/article/pii/S1386653220301542 | Altona Diagnostics (Germany) | RT-PCR (E, S gene) | Clinical samples with in-house confirmed SARS-CoV-2 (17.25 ≤ Ct ≤ 34.0 for the E-gene during initial diagnostics; n = 13) or other respiratory viruses (n=6) | Not specified | NR | 76.9% | 10 | 13 | 100% | 6 | 6 | Not all comerical kits were able to identify the 10 positive samples concentrations of SARS-CoV-2 (Ct ≤ 34.50 in our in-house E-gene PCR) | YES | van Kasteren PB, van der Veer B, van den Brink S, et al. Comparison of seven commercial RT-PCR diagnostic kits for COVID-19. J Clin Virol. 2020;128:104412. DOI: 10.1016/j.jcv.2020.104412
|  | BGI (China) | RT-PCR (ORFLab) |  |  | NR | 92.3% | 12 | 13 | 100% | 6 | 6
|  | CerTest Biotec (Spain) | RT-PCR (ORFLab) |  |  | NR | 84.6% | 11 | 13 | 100% | 6 | 6
|  | KH Medical (Korea) | RT-PCR (RdRp, S) |  |  | NR | 92.3% | 12 | 13 | 100% | 6 | 6
|  | PrimerDesign (England) | RT-PCR (RdRp) |  |  | NR | 76.3% | 10 | 13 | 100% | 6 | 6
|  | R-Biopharm AG (Germany) | RT-PCR € |  |  | NR | 100% | 13 | 13 | 100% | 6 | 6
|  | Seegene (Korea) | RT-PCR (RdRp, N, E)
Wang et al., 2020 | https://www.clinicalmicrobiologyandinfection.com/article/S1198-743X(20)30284-6/abstract | single-tube reverse transcription recombinaseeaided amplification (RT-RAA) assay for SARS-CoV-2 | A reverse transcription recombinase–aided amplification (RT-RAA) assay for SARS-CoV-2 | 947 clinical samples from five institutions in four regions of China | The types of specimens included pharynx swab (834, 88.07%), sputum (82, 8.66%), nasopharyngeal swab (16, 1.69%), nasal swab (8, 0.84%), bronchoalveolar lavage fluid (4, 0.42%), stool (2, 0.21%) and whole blood (1, 0.11%) | Less than 15 minutes | 97.6(95% CI:95.2, 98.9%) | 330 | 338 | 97.8% (p5% CI:96.2%, 98.8%) | 596 | 609 | The positive predictive value was 96.21% (330/343) (95% CI 93.45 to 97.88), the negative predictive value was 98.68% (596/604) (95% CI 97.30 to 99.38) and the total coincidence rate was 97.78% (926/947) (95% CI 96.80 to 98.70); kappa was 0.952 (p < 0.05) | YES | Wang J, Cai K, He X, et al. Multiple-centre clinical evaluation of an ultrafast single-tube assay for SARS-CoV-2 RNA. Clin Microbiol Infect. 2020. DOI: 10.1016/j.cmi.2020.05.007
Wang, 2020 | https://www.sciencedirect.com/science/article/pii/S0166093420301713 | Combination of serological test for antibodies and RT-PCR | Serological total antibody tests combined with RT-PCR for detection of SARS-COV-2. We conducted a retrospective study in which 375 patients were enrolled during the outbreak of SARS-COV-2 from 25th January to 16th March 2020 | Patients were divided into a COVID-19 group (n = 141) and a control group (n = 234) | Serum samples and throat swabs were collected from 375 patients for total antibody testing against SARS-COV-2 and RT-PCR analysis, respectively | NR | 98.6% | 139 | 141 | 98.7% | 231 | 234 | The joint method was found to be more sensitive than RT-PCR alone(98.6 % Vs 92.2 %, X2 = 5.16, P < 0. 05). There is no significant difference in sensitivity between the joint method and total antibody test alone(98.6 % vs 95.7 %, X2 = 1.15, P > 0.05). | YES | Wang P. Combination of serological total antibody and RT-PCR test for detection of SARS-COV-2 infections. J Virol Methods. 2020;283:113919. DOI: 10.1016/j.jviromet.2020.113919